## Elements
Path | Slice Name | Alias(s) | Label | Min | Max | Must Support? | Is Modifier? | Is Summary? | Type(s) | Short | Definition | Comments | Requirements | Default Value | Meaning When Missing | Fixed Value | Pattern | Example | Minimum Value | Maximum Value | Maximum Length | Binding Strength | Binding Description | Binding Value Set | Code | Slicing Discriminator | Slicing Description | Slicing Ordered | Slicing Rules | Base Path | Base Min | Base Max | Condition(s) | Constraint(s) | Mapping: HL7 v2 Mapping | Mapping: RIM Mapping
SampledData |  |  |  | 0 | * |  |  |  |  | Sampled Data | Data that comes from a series of measurements taken by a device, which may have upper and lower limits. The data type also supports more than one dimension in the data. | The data is not interpretable without at least origin, period, and dimensions, but these are optional to allow a separation between the template of measurement and the actual measurement, such as between DeviceCapabilities and DeviceLog. When providing a summary view (for example with Observation.value[x]) SampledData should be represented with a brief display text such as "Sampled Data". | [17 empty] | SampledData | 0 | * | ele-1 | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} | N/A (but see section 7.14 in v2.7) | SLIST + GLIST
SampledData.id |  |  |  | 0 | 1 |  |  |  | string | Unique id for inter-element referencing | Unique id for the element within a resource (for internal references). This may be any string value that does not contain spaces. | [18 empty] | Element.id | 0 | 1 |  |  |  | n/a
SampledData.extension |  | extensions user content |  | 0 | * |  |  |  | Extension | Additional content defined by implementations | May be used to represent additional information that is not part of the basic definition of the element. To make the use of extensions safe and manageable, there is a strict set of governance applied to the definition and use of extensions. Though any implementer can define an extension, there is a set of requirements that SHALL be met as part of the definition of the extension. | There can be no stigma associated with the use of extensions by any application, project, or standard - regardless of the institution or jurisdiction that uses or defines the extensions. The use of extensions is what allows the FHIR specification to retain a core level of simplicity for everyone. | [13 empty] | value:url} | Extensions are always sliced by (at least) url |  | open | Element.extension | 0 | * |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} ext-1:Must have either extensions or value[x], not both {extension.exists() != value.exists()} |  | n/a
SampledData.origin |  |  |  | 1 | 1 |  |  | Y | Quantity {SimpleQuantity} | Zero value and units | The base quantity that a measured value of zero represents. In addition, this provides the units of the entire measurement series. | [18 empty] | SampledData.origin | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | SLIST.origin
SampledData.period |  |  |  | 1 | 1 |  |  | Y | decimal | Number of milliseconds between samples | The length of time between sampling times, measured in milliseconds. | This is usually a whole number. | [17 empty] | SampledData.period | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | GLIST.increment
SampledData.factor |  |  |  | 0 | 1 |  |  | Y | decimal | Multiply data by this before adding to origin | A correction factor that is applied to the sampled data points before they are added to the origin. |  |  |  | If no factor is assigned, the data is not adjusted before adding to the origin | [14 empty] | SampledData.factor | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | SLIST.factor
SampledData.lowerLimit |  |  |  | 0 | 1 |  |  | Y | decimal | Lower limit of detection | The lower limit of detection of the measured points. This is needed if any of the data points have the value "L" (lower than detection limit). | [18 empty] | SampledData.lowerLimit | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | N/A (use SLIST.digits.nullFlavor)
SampledData.upperLimit |  |  |  | 0 | 1 |  |  | Y | decimal | Upper limit of detection | The upper limit of detection of the measured points. This is needed if any of the data points have the value "U" (higher than detection limit). | [18 empty] | SampledData.upperLimit | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | N/A (use SLIST.digits.nullFlavor)
SampledData.dimensions |  |  |  | 1 | 1 |  |  | Y | positiveInt | Number of sample points at each time point | The number of sample points at each time point. If this value is greater than one, then the dimensions will be interlaced - all the sample points for a point in time will be recorded at once. | If there is more than one dimension, the code for the type of data will define the meaning of the dimensions (typically ECG data). | [17 empty] | SampledData.dimensions | 1 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | N/A (fixed to 1)
SampledData.data |  |  |  | 1 | 1 |  |  |  | string | Decimal values with spaces, or "E" ¦ "U" ¦ "L" | A series of data points which are decimal values separated by a single space (character u20). The special values "E" (error), "L" (below detection limit) and "U" (above detection limit) can also be used in place of a decimal value. | Data may be missing if it is omitted for summarization purposes. In general, data is required for any actual use of a SampledData. | [17 empty] | SampledData.data | 0 | 1 |  | ele-1:All FHIR elements must have a @value or children {hasValue() or (children().count() > id.count())} |  | SLIST.digits